Guidelines for Safe Handling and Storage of Peroxide Forming Chemicals

Peroxides are a class of chemical compounds with unusual stability problems and are among the most hazardous substances commonly handled in the laboratory.

Organic peroxides are liquid or solid organic substances which contain the bivalent –O-O- structure and may be considered derivatives of hydrogen peroxide, where one or both of the hydrogen atoms have been replaced by organic radicals.  The term also includes organic peroxide formulations (mixtures).  Organic peroxides are thermally unstable substances or mixtures, which may undergo exothermic self-accelerating decomposition.  In addition they may have one or more of the following properties:

  - Be liable to explosive decomposition;

  - Burn rapidly;

  - Be sensitive to impact or friction; and

  - React dangerously with other substances.

Peroxides can be formed by intentional chemical reactions, but can also be formed during storage.  Several commonly used solvents such as diethyl ether and tetrahydrofuran (THF) can form explosive peroxides through a relatively slow oxidation process.  Refrigeration does not eliminate peroxide formation and stabilizers only slow down formation.

Common classes of compounds that form peroxides include:

- Ethers, acetals, and ketals, especially cyclic ethers and those with primary and/or secondary alkyl groups

- Aldehydes, including acetaldehyde and benzaldehyde

- Compounds containing benzylic hydrogens

- Compounds containing allylic hydrogens, including most alkenes; vinyl and vinylidene compounds and dienes.

Refer to the tables for lists of common chemicals and recommendations for storage times.

- PURCHASING

If possible, use a material that does not form peroxides.  Do not purchase peroxide forming chemicals in large quantities.  Obtain only the amount you can use within its recommended storage time.  If feasible, purchase peroxide-forming chemicals containing an inhibitor such as butylated hydroxytoluene (BHT).  Provide the EHS Lab Safety Coordinator with Lab number, peroxide forming material, date of purchase, expiration date, and primary lab contact person.  Label all peroxide forming chemicals with date received, the date the container first opened, and expiration date, using a label similar to the one pictured in Figure 1.  The figures are at the end of this document on separate pages to facilitate printing.

- HANDLING PRECAUTIONS

Old containers of peroxidizable chemicals, or containers of unknown age or history, must be handled very carefully.

- After opening, wipe the neck, cap and thread with a cloth before resealing.

- Never try to force open a stuck cap of a peroxide forming chemical.

- If you note crystallization, discoloration, or liquid stratification, treat as potentially explosive and notify EHS for pick-up and disposal.  These are signs that a peroxide-former may have become shock-sensitive.  If you see crystals on the cap or the bottle threads, do NOT open container!  The friction caused by opening a crystallized lid may cause an explosion.  Treat as a potentially explosive material.

- If the container shows no outward sign of deterioration, and you see no signs of peroxide formation, it may be possible to test for peroxide.  Take extra precautions against agitation and use appropriate protection.  Utilize shields, barricades and additional PPE such as face shields with throat protectors, heavy gloves and even ear muffs.  In the fume hood, try to test the material with the least possible disturbance.

- STORAGE

Keep the quantity of stored peroxide-forming chemicals to the minimum amount required.  Dispose of unneeded materials as soon as no longer required for current project.

- EHS will maintain a list of peroxide formers in labs and the Chemistry Stock Room, and will observe the containers as part of our lab inspections.

- Provide the EHS Lab Safety Coordinator with Lab number, peroxide forming material, date of purchase, if known, and primary lab contact person.

- Ensure that all containers are labeled with label shown in Figure 1 or equivalent.

- Peroxide-formers should be stored in sealed, opaque, air-tight containers.  Avoid containers with loose-fitting lids or ground glass stoppers.

- Store away from heat and light.

- It is recommended that these chemicals (except those with inhibitors) be stored under nitrogen or other inert gas, if possible, or in an inert atmosphere chamber or glove box.  Some inhibitors, such as BHT need small amounts of oxygen to prevent oxide formation.

- If evaporation or distillation is necessary, do not distill to a dry residue.  Always leave at least 10-20% residual bottoms.

- See Tables 1-3 for maximum storage times after opening.

- OPTIONAL TESTING FOR PEROXIDES

Laboratories may keep potential peroxide forming materials past their recommended expiration date if the chemicals show no sign of peroxide formation and if the lab initiates a testing protocol.  The test should show a concentration of less than 100 ppm.  Periodic testing is required for all peroxide forming chemicals kept beyond the expiration date.  Testing should be performed and documented monthly, using the label in Figure 2, or equivalent.  This label should be kept with the container.  If the test shows a concentration greater than 100 ppm, contact EHS for proper handling and disposal.

Semi-quantitative peroxide test strips, which turn color in the presence of peroxides, are commercially available.  The lab safety book, “Prudent Practices in the Laboratory” provides two analytical methods to test for the presence of peroxides in section 6.G.3.2.  There is a link to a free download of this book on the EHS website.

- MAXIMUM STORAGE TIMES

The chemical lists in the following tables provide the maximum storage times, but are NOT all inclusive.  There is an additional list of approximately 200 potential peroxide formers on the EHS website.

Table 1:  Chemicals That Can Form Explosive Levels of Peroxides Without Concentration.

Maximum storage time is three months after opening.

| butadienea | potassium metal |
| --- | --- |
| chloroprenea | potassium amide |
| divinyl acetylene | sodium amide |
| divinyl ether | tetrafluoroethylenea |
| isopropyl ether | vinylidene chloride (1,1-dichloroethylene) |

aWhen stored as a liquid monomer.

Table 2:  Chemicals That Are a Peroxide Hazard on Concentration (Evaporation/Distillation)

Maximum storage time is 12 months after opening.

| acetal | Ethylene glycol ether acetates |
| --- | --- |
| acetaldehyde | 4-heptanol |
| benzyl alcohol | 2-hexanol |
| 2-butanol | methyl acetylene |
| cumene | 3-methyl-1-butanol |
| cyclohexanol | methyl cyclopentane |
| 2- cyclohexen-1-ol | methyl isobutyl ketone |
| cyclohexene | 4-methyl-2-pentanol |
| cyclopentene | 2-pentanol |
| decahydronaphthalene | 4-penten-1-ol |
| decalin | 1-phenylethanol |
| diacetylene | 2-phenylethanol |
| dicyclopentadiene | 2-propanol |
| diethyl ether | tetrahydrofuran |
| diethylene glycol dimethyl ether (diglyme) | Tetralin (tetrahydronaphthalene) |
| dioxanes | vinyl ethers |
| ethylene glycol dimethyl ether (glyme) |  |

Table 3:  Chemicals That May Autopolymerize as a Result of Peroxide Accumulation

Maximum storage time is 12 months after opening.

| acrylic acid | styrene |
| --- | --- |
| acrylonitrile | tetrafluoroethylene (gas)a |
| butadienea | vinyl acetate |
| chlorobutadiene | vinyl acetylene (gas) |
| chloroprenea | vinyl chloride (gas) |
| chlorotrifluoroethylene | vinyl pyridine |
| methyl methacrylate | vinylidiene chloride |

aWhen stored in liquid form, these chemicals form explosive levels of peroxides without concentration.  They may also be stored as a gas in gas cylinders.  When stored as a gas, these chemicals may autopolymerize as a result of peroxide accumulation.

Figure 1: PEROXIDE WARNING LABEL

WARNING: MAY FORM EXPLOSIVE PEROXIDES Store, handle, and dispose of according to EHS “Guidelines for Safe Handling and Storage of Peroxide Forming Chemicals” and the UMSL Laboratory Safety Plan. Keep in tightly closed original container. Avoid excess exposure to light, air, and heat. If crystals/crust, discoloration, or layering are visible, DO NOT OPEN. Contact EHS immediately for guidance. NOTE: THIS CHEMICAL HAS A LIMITED SHELF LIFE Date received: Date Opened: EXPIRATION DATE:

Figure 2: PEROXIDE TEST DOCUMENTATION LABEL

WARNING: MAY FORM EXPLOSIVE PEROXIDES Store, handle, and dispose of according to EHS “Guidelines for Safe Handling and Storage of Peroxide Forming Chemicals” and the UMSL Laboratory Safety Plan. Keep in tightly closed original container. Avoid excess exposure to light, air, and heat. If crystals/crust, discoloration, or layering are visible, DO NOT OPEN. Contact EHS immediately for guidance. NOTE: THIS CHEMICAL HAS A LIMITED SHELF LIFE Date received: Date Opened: PEROXIDE TEST RESULTS If concentration is less than 100 ppm, material use can be prolonged. However, do not evaporate or concentrate any further. Date/Test Results: Date/Test Results: Date/Test Results: Date/Test Results: Date/Test Results: Date/Test Results: Date/Test Results: Date/Test Results: Date/Test Results:

References:

Prudent Practices in the Laboratory, The National Academies Press, 2011

CAL/OSHA UCLA Highly Hazardous Chemical List

Handbook of Chemical Health and Safety, Robert J. Alaimo, Editor, Oxford University Press, 2001

R. J. Kelly “Review of Safety Guidelines for Peroxidizable Organic Chemical,” from Chemical Health & Safety, September/October 1996

http://www-ehs.ucsd.edu/lab/pdf/kelly_peroxides.pdf